## Slide 1
Automatic Femur Segmentation for Femoral Implant Design
Iwan Paolucci, Severin Tobler
University of Bern
16. December 2015, Medical Image Analysis Lab

## Slide 2: Introduction
Goal: Dice 0.95 with 0.05 std

## Slide 3: Methods – Algorithm Pipeline
Tree Model
MR Data
Pre-Process
Feature Extraction
Random Forest
Post-Process
Segmented Volume

## Slide 4: Methods – Pre-Process
Normalization
Noise removal
  3D Wiener filter

## Slide 5: Methods – Feature Extraction
Standard deviation
Entropy
Relative position (3D)
Gaussian
Average
Laplacian of Gaussian
Laplacian
Prewitt (horizontal and vertical)
Sobel (horizontal and vertical)

## Slide 6: Methods – Post-Processing
Morphological opening
Keep largest area / volume
Fill holes

## Slide 7: Results
Boxplot mit dice
Schlechte segmentation

## Slide 8: Discussion
Slim & Fast
Best / Worst case
Segmentation is always the Femur
Dice interpretation

## Slide 9: Outlook
Include prior information
Investigate 3D features
Extend to further bone structure

## Slide 10: Thanks for your attention!
Questions?

## Slide 11: Tested but was not good…
ASM
3D filter for features
Histogram bins as features
Skewness as features